भारतीय पटसन निगम लिमिटेड

(भारत सरकार की संस्‍था)

The Jute Corporation of India Limited

## (A Government of India Enterprise)

## 15N, Nellie Sengupta Sarani, Kolkata – 700 087.

CIN - U17232WB1971GOI027958.

### NOTICE INVITING TENDER FOR CIVIL WORKS – CONSTRUCTION OF  BOUNDARY  WALL ( NEW) JOB AT DEPARTMENTAL PURCHASE CENTRE IN MOIRABARI , ASSAM UNDER NAGAON R.O. , OF THE JUTE CORPORATION OF INDIA LIMITED , A GOVERNMENT OF INDIA ENTERPRISE, UNDER THE MINISTRY OF TEXTILES.

#### The Jute Corporation of India Limited invites Sealed Tenders from experienced , bonafide & resourceful Civil Contractors for the purpose of Civil Repair works at below location of  Moirabari  Departmental Purchase Centre of JCI :

NIZ DHING , DHING

P.O. - DHING ;  P.S. – DHING ;  PIN - 782123

DIST- NAGAON, ASSAM .

#### Estimated value of the above mentioned Work & other Important Details are furnished underneath:-

#### Project                                            :  MOIRABARI   DPC – construction of new Boundary wall along

#### periphery  line  of the DPC.

#### Tender Value of the Work              :   23,96,144.00 ( excluding  all Taxes  & Duties ) .

#### Earnest Money Deposit (EMD)       :   71,885 .00

Interested bidders may see the Tender Document which can be downloaded from JCI website “http.://www.jutecorp.in/tender/”, OR, from ‘CPP Portal’ (https://eprocure.gov.in/eprocure/app) Or, ‘Indian Trade Journal’ website ( www.dgciskol.gov.in/itj ). ”

Tender documents can be downloaded from the above mentioned websites .

Tender Fees is non-refundable .

The last due date for submission of Tender is till p.m. on  03/04/2023.

The Tender Offers received ,shall  be opened on  04/04 / 2023 at 03:00 p.m at the H.O. JCI  address,  preferably in presence of intending Bidders / their authorized representatives, at their own interest , eagerness & cost.

The Corporation reserves the right to reject any or all submitted Offers without assigning any

reasons  whatsoever.

…………………………………

( Tender  Inviting Authority )

General  Manager (O&M)

- FROM  - 11/03 /2023 ( 2:00 p.m. ) to 03 /04 /2023 ( up to 5:30 p.m. ).

- PRE BID MEETING AT JCI H.O, KOLKATA ON 17/ 03 /2023 AT 15.00 Hrs. : The meeting can also be accessed through online VC. Necessary online links will be shared from JCI H.O., if the bidder approaches JCI over phone or other medium of communication.

- LAST DATE OF SUBMISSION –  03 /04 /2023  up to  5:30  p.m.

- BID OPENING DATE – 04/04/2023  at 03:00  p.m. at JCI H.O. Kolkata ( the very next Office working day after the Tender Closing Date.)

[ BIDDERS ARE REQUESTED TO COME TO JCI H.O. ON THE STIPULATED DATE & TIME TO ATTEND BID OPENING MEETING ,AT THEIR OWN INTEREST , EAGERNESS & COST ].

- PRICE OF ‘TENDER FEES’ - Rs.118 /- , BY DIGITAL MODE THROUGH RTGS/ NEFT / ECS, ISSUED FROM ANY SCDEDULED BANK, FAVOURING( Or, Beneficiary ) – “ THE JUTE CORPORATION OF INDIA LIMITED , A/C. no.- 0093000100297535 , IFSC – PUNB0009300 , Bank – Punjab National Bank , Branch – New Market Branch”.

- EMD FEES – Rs.71,885/- TO BE PAID  BY DIGITAL MODE THROUGH RTGS/ NEFT / ECS , OF THE ABOVE MENTIONED  BANK DETAILS.

- PLACE OF SUBMISSION :

- THE JUTE CORPORATION OF INDIA LIMITED. H.O.

ADDRESS : 15N, NELLIE SENGUPTA SARANI,

HUDCO BUILDING, 7TH FLOOR, KOLKATA-700087

TEL :- 033-2252-7496/7028/6952/6779 .

At – Tender Box.

Detailed Bid submission procedures are mentioned at ‘Pg. no. ……..’ of this NIT document.

N.I.T  document   ISSUED  TO  : M/S ……………………………………………………………………………

#### GENERAL CONDITIONS OF CONTRACT (G.C.C)

BIDDERS  SHALL SIGN AND STAMP EACH PAGE OF TENDER DOCUMENT  ALONG WITH INTEGRITY PACT

#### General Instructions to bidder(s) :

- Inspection of sites: The contractor shall visit and examine the sites and satisfy as to the nature and correct dimensions of work and facilities for obtaining material and shall obtain generally his own information on all matters affecting the execution of work. No extra charge made in consequence of any misunderstanding or incorrect information on any of these points on the ground of insufficient description will be allowed. All expenses incurred by the contractors in connection with obtaining information for submitting this tender including his visit to site and efforts in compiling the tender shall be borne by the tenderer and no claims for reimbursement thereof shall be entertained.

- Safety Regulations: The contractor shall take all the necessary precautions while working and to safeguard adjacent property, Corporation’s property, Corporation’s employees, employees of contractor & general public.

#### Compliance to local laws: The contractor shall conform to the provisions of any Act of the Legislature relating to the work and to the Regulations  &  Bye Laws of any prevalent authority. He shall also obtain all necessary permission / approval / NOC from other  related competent authorities of related Or for completion of the said work, if required under the existing rules.

- Site cleaning: All the rates quoted are inclusive of removal of rubbish / debris collected during the progress of work, rejected material and clearance of site before and after the work is completed. Not more than one truck load shall be stored that to for not more than 2 days. The contractor shall arrange to remove the same immediately. If the contractor is failing to do so Corporation shall remove the same and the expenses thus incurred shall be recovered from the contractor and no claim of any sort will be entertained.

- Vouchers / bills: Contractor shall upon the request of the Corporation furnish bills, invoices, accounts, receipts and other vouchers for all materials brought on site to prove that the material purchased are as per the specification.

#### Contractor’s basic responsibility:

#### a) The work will be examined from time to time by Corporation’s Officers /Civil Engineer, but such examination shall not in any way exonerate the contractor from the obligation to remedy any defects which may be observed at any stage of the work or after the same is completed.

#### b) The Contractor shall provide everything necessary for proper execution of the works , according to the intent and meaning of the BOQ  / General Arrangement Drawing (GAD) whichever will be provided.

#### c) Samples & SHOP Drawings : After Award of the Contract , the Contractor shall furnish Samples, SHOP  Drawings etc. (as required) along with the Specifications ,

#### No extra Payment shall be given to the Contractor for preparation / making available of  any Samples to the Client.  A schedule giving dates for the submission of  Samples shall be included in the time Schedule Or, in the Program – Chart (to be submitted by the Contractor before starting of the work). Specifically authorized samples/SHOP Drawings (whichever will be in requirement) , must be submitted for approval within 07 Days of Award of Work , Or, as shown in the ‘Work-Completion Schedule’ as per Activity [ to be submitted by the successful Bidder ( whichever is earlier).

#### d) The Contractor shall provide himself for ground and municipal water for carrying out  the work at his own cost. In case of water from any other source, the same shall be Tested and can be used only after specific written permission from Appropriate authority of JCI.

#### In such case, Testing Cost will be borne by the Contractor.

#### e) Labour Hutment : Contractor should arrange at his own cost Labour Hutment. JCI may not charge the Contractor for his own unrented Ground. The employer shall on no Account be responsible for the expenses incurred by the Contractor for hired ground or water obtained from elsewhere.

#### f) Electric supply : Electricity will have to be arranged by the contractor; additionally the contractor shall have to make his own arrangement for providing points, wires lines, extension board, MCBs ,wherever it is required in the premises, in and out. The contractor shall arrange to install a Tested Meter & pay for the energy consumed by him. JCI however, shall support at it’s level best in this regard , for the sake of work.

7.    Dismissal of workperson from work: JCI Officer / Engineer shall be at liberty to object to

and request the Contractor to remove forthwith from the Works any person provided by the

Contractor who, in the opinion of the JCI Officer/ Engineer, misconducts himself, or  is

incompetent or negligent in the proper performance of his duties, or whose presence on Site

is otherwise considered by the JCI Officers /Engineer to be undesirable, and such person

shall not be again allowed upon the Works without the consent of the JCI designated

Officers / Engineer. Any person so removed from the works shall be replaced as soon as

possible  by a qualified person approved by the JCI Engineer/ JCI appropriate Officer .

- Order of work, etc: Corporation reserves the right to fix the order in which the various items  of work involved are to be executed. However, the contractor shall be responsible for the completion of the entire job within the item and time limit specified to enclosed BOQ (Bill of Quantity) failing which Liquidated Damages as mentioned in clause  shall be recovered from the contractor.

- Commencement of work: The work must be started within 07(seven) days upon accepting

The work order and the program for carrying out the various jobs shall be drawn out (Project Execution Schedule /Plan in writing) in consultation with the corporation’s Officers / Civil Engineer. Default in compliance with the programmes so finalized shall entail operation of liquidated damages as stated. Adequate labour force shall be provided to complete the work within the specified period. Safety of the personnel ( labour engaged by Contractor) and security of consumables & building materials as well as that of construction-in –progress Items & structures are the sole responsibility of the contractor. The Corporation shall at no times be held liable for such loss arising out of the negligence of the Contractor.

- Subletting the work: The contractor shall not directly or indirectly sublet the work to other party without written permission from the Corporation.

- Quantities of works are provisional: The estimated quantities mentioned in BOQ schedule , are provisional and may increase / decrease to the extent (as mentioned in GCC Clause  No. 64.0 ) or some items may be omitted during execution .

#### Distribution of work: The Corporation reserve the right to distribute the work for which Tender have been called, among more than one parties, if found necessary. No claim in this respect shall be considered and the contractor shall agree to cooperate with other agencies appointed by the Corporation.

- Third party damage, Or, Damage to Person / Property : The sole responsibility lies with the contractor or the persons employed by his agency/firm against all losses and claims in respect of: (a) Death of or injury to any person, or (b) Loss or damage to any property (other than the Works) which may arise out of or in consequence of the Repair and Maintenance of the works and the remedying of any defects therein, and against all claims, proceedings, damages, costs, charges and expenses whatsoever in respect thereof.   The contractor shall indemnify and keep indemnified the Corporation against all such damages and compensation and expenses whatsoever in respect thereof or in relation hereto.

#### Insurance cover: All the workers of the contractor may be properly covered by an Insurance Policy under Workman’s Compensation Act and Fatal Accidents Act and shall indemnify the Corporation from all the liabilities arising out of such events. In case of delay, contractor shall arrange to extend insurance policy till work will be  completed.

#### The Insurance coverage (as may be taken by the contractor), may be considered as per ‘Technical Eligibility criteria_ Clause no. e’.

#### 14A. Fire Insurance : The Contractor shall on signing the Work- Contract , may need to Insure the Works & keep them insured until the Actual Completion of Contract , against Loss Or

#### Damage by Fire with a PSU Insurance Co., a Certified copy of the Fire Insurance Document

#### shall be submitted to  JCI , at his own Cost.

#### However, the right of waiver of the above Clause lies with The Jute Corporation.

- Delay & Extension of time: All the work should be completed within the specified period mentioned in the tender. If the work is delayed due to the reasons beyond the control of the contractor, he should, immediately apply to the Corporation explaining therein the reasons for such delays (DELAY ANALYSIS) and if in the opinion of Corporation the delay is justified, the contractor shall be granted extension in the time limit.

However in cases where sufficient reasons of Delay is not given by the Contractor, the corporation is free to impose liquidated damages as the case may be ( as per the NIT document).

- Certificate of virtual completion: As soon as the work is completed, the contractor shall inform in writing such completion to the Corporation’s Officers / Civil Engineer who will inspect the work and if satisfied,  will issue the certificate that the work has been actually  completed and the defects liability period shall commence from the date of such certificate.

- Defect liability period (DLP) : The defects or other faults which may appear during the defect liability period which is 12 months after the virtual completion of the work,  arising in the opinion of the Corporation due to inferior quality of material or bad workmanship not in accordance with the contract, contractor shall make good at his own cost within a reasonable time.

On failure of the contractor to do so, the same shall be completed by the Corporation at the risk and cost of the Contractor.

#### Arrangement of work: The contractor shall organize the work in such a way that the surrounding environment or the nearby public areas are not subjected to any hardships and the working of the office is not affected. The contractor shall take adequate care during the progress of work to protect the office property like stationery, furniture, etc. In case of any damage, the same shall be made good by the contractor and no claim in this regard shall be entertained. If Contractor agrees to work after office hours/during night, for which no extra cost shall be considered.

- Stacking of material: The contractor is not to stack any of his material recklessly so as to

endanger the safety of the building and cause any nuisance to the occupants and the public.

- Charges for extra Works : It is clearly implied that all the conditions of contracts are intended to be strictly enforced and that no extra charges in respect of extra work will be allowed unless they are clearly outside the spirit and meaning of the condition and unless such work shall have been ordered in writing from JCI end.

- Protection of material and work: The contractor shall be responsible for storing and

watching his own material and protecting the work at his own cost.

- Approval of samples: The contractor shall furnish well in time before work

commencement at his own interest, samples of material(s) or workmanship that may be

required  by Corporation’s Officer / Civil Engineer for approval. The Contractor should

readily adhere & act accordingly the issues . Rates quoted shall cover for such preliminary

work.

- Workmanship: The work involved calls for a high standard of workmanship combined with speed. All the glass panes, door handles / hinges, electric fitting, fans, furniture records, floors etc. are to be thoroughly cleaned after work is completed. Any damage to the flooring, tiles, paneling or any other part of the building, etc. Shall be made good at the cost of the contractor to the entire satisfaction of the Corporation. Contractor shall make all arrangements for shifting of furniture / records and keeping the same in its original position after he finishes the work on daily basis. The contractor at his own cost shall provide brown paper, polythene, tarpaulin etc. protecting furniture / fixtures, paneling, electrical, fittings, records, etc.

- Interpretation of documents / drawing: Except where otherwise provided in the contract all questions and disputes relating to the meaning of the specifications, design, drawings and instructions herein before mentioned and as to the quality of workmanship or materials used for  the work or as to any other question, claim, right, matter or thing whatsoever, in any way arising out of or relating to the contract, designs, drawings specifications, estimates, instructions, orders or these conditions or otherwise concerning the works, or the execution or failure to execute the same whether arising during the progress of the work or after the completion or abandonment thereof shall be referred to the competent authority of the Corporation whose decision shall be final and binding on the contractor.

- Use of scaffolding: The contractor shall allow the use of scaffolding erected by them,  to any other agency employed by the Corporation during the contract period without any payment. Scaffolding shall  be of  M.S pipes & Clumps , when Contractor needs to do the Work at Higher  level , like Truss Top etc.

#### Provisional Item: If ordered by the Corporation, contractor shall be required to carry out

#### provisional items at the same conditions and Rates as applicable for this Contract.

- Measurements of all concealed items: Measurements of all concealed items (wiring / cabling / ducting / plumbing / piping etc.) of work and extra item if any, shall be got recorded by the Corporation’s Officers / Civil Engineer before it is concealed or covered.

- Measurements: All measurement tapes shall be of steel and all scaffolding and ladders that may be required for taking measurements shall be supplied by the contractor.

- Cleaning during the work: The rates quoted shall include cleaning of entire site with all fixtures & equipments, leaving the site neat and tidy from time to time.

- Complying I.S. Specification: Unless, or, otherwise mentioned in the Contract ,the latest Indian Standard Code for material specifications, method of work, and mode of measurements shall be followed. The payment shall be made on the basis of actual measurement of work done to be submitted along with bill.

- “Working ‘Make-List’ : Materials to be used in the Repairing Work, shall  conform to corresponding IS Code or, standard BIS Specification etc. An ‘Annexure-D’ is being  provided with the Tender documents on the related Items’ works to be executed .

- General Arrangement Drawing (GAD): A General Arrangement Drawing may be  provided for ready reference of the Bidders ( if required).

- ‘Guarantee  Clause’ with respect to Anti-Termite Work Item : The Contractor shall be  liable to borne 10 Yrs. Guarantee (Or, As per Manufacturer of the ATT Chemical, Whichever is Greater ) in form of ‘LEGAL GUARANTEE BOND PAPER’ (as per Standard Practice) , from the Date of ‘Completion Certificate’. A Lump-Sum Amount may be HOLD ( if needed) being kept at  the discretion of JCI Authority (based on ‘As & Where’ requirement basis) on the Certified Bill Amount.

#### Rate to include: The rates quoted by the contractor shall cover for work at any height in the

#### premises for all finished items under this contract. The rate quoted shall be inclusive of all

#### material cost, wastage, labour, loading & Unloading , profit, taxes if any, scaffolding,

#### transport, supervision, preparation of SHOP DRAWING( if required), spot light

#### arrangement and any other means to complete the job. GST, Octroi , sales-tax, Labour

#### Welfare Cess , Swachh Bharat Cess etc., Works Contract Tax or any other taxes present or

#### future , to be included in the rates when quoted. If there is a change in the tax structure / duties as

#### per State / Central Govt. Order after award of contract, the Corporation shall not reimburse

#### the difference in tax.

- Price Fluctuation: The rates quoted by the contractor shall be firm throughout the currency of contract (including extension of time, if any , granted) and will not be subject to any fluctuation due to variation in the cost of material or labour.

- The successful tender if called upon to do so / if found necessary by the Corporation,  shall obtain a letter from the approved trade manufacturer whose product is used, if found necessary by the corporation confirming that the manufacturer shall provide all the technical assistance and supervision during the execution of the work at all such places as directed and the contractor shall bear the expenses, if any, for such supervision and technical assistance supplied by the trade manufacturer.

#### Testing of Materials: If at any point of time during the work, corporation desires to carry out test of certain materials, the contractor shall arrange for the same and submit the Test Report without any claim for extra cost for that..

- The contractor shall hereby declare that  they should bring to the notice of the Officers / Civil Engineer of JCI any defects in building / other Structures including finishes or breakage in glass window, curtain glazing, etc. before starting work. However, if any defect in finishes of building or glass is found to be broken during the work at Contractor’s fault , the same shall be Made Good  by the contractor at his own cost on immediate effect without hampering Work pace.

- Conditional tenders: Conditional tenders ( Or, Quoting of Rates partially in BoQ) are liable to be rejected.

- Rates of non-tendered or Non-Scheduled Items: The successful Tenderer is bound to carry out any item of work necessary for the completion of the job even though such items are not included in schedule of quantities.

Sub- Section -01_ Provision of such Altered / Additional Items of Works :-

If the altered/additional work required to be executed as per JCI’s requirements, for which there are no established rates in Schedule of Rates, the same shall be payable as per provisions stated hereunder –

- In Case of  Substitute  Item(s) :

As Per Scheduled Rates as approved.

- Payment of Substitute in case of Non-Schedule items (Non BOQ items) :- Rate of  Similar  Scheduled Items , as per in practice CPWD_DSR  Or concerned  State  Schedule  or  nearby  Rate –Analysis of the Item (as will be derived) w.r.t. CPWD / State PWD schedule , or, in special case , Rate –Analysis may be derived from Local Market rate plus adding other  relevant components for deriving practical oriented ‘Rate analysis;.

The method to be adopted – shall be as per practical applicability.

*Note - The  items to be  placed with proper Justification(s).

- Abandonment of work: If in any case , the work required to be abandoned, the contractor

shall not be entitled for any claims and he will be paid as per the actual work done till that

period.

- The Corporation reserves the right to accept / reject any or all tenders in part or in whole without assigning any causes  as on date or,  thereafter.

- Decision of the Corporation shall be final and binding on any matter connected with the work. In the event that there is some dispute, the matter shall be decided after mutual discussions based on the terms and conditions of this contract. However, if the matter cannot be resolved then the same shall be referred to respected, qualified person in the field agreed to both the parties and his opinion shall be binding on both the parties. However, this is pre-course to any legal action in this regard.

- Incomplete quotation: Incomplete quotations shall be summarily rejected.

- Payments: The contractor shall be paid by the Corporation as per payment schedule stated in the Contract Documents.

- When the work has been virtually completed and Corporation’s Officers / Civil Engineer has certified in writing that the work has been completed on the basis of detailed measurements and has made a final scrutiny and that there is no dispute regarding items, rates, and quantities, the contractor shall be entitled to the payment of the final bill in accordance with the final certificate which will be honoured within the period specified in the Appendix as period of honoring final certificate.

- The contractor shall be paid by the corporation within the period named in Appendix (period of Honoring Certificate) after such certificate has been delivered to the employer by the corporation’s officers / Civil Engineer. The Corporation’s Officers / Civil Engineer has the power to withhold any certificate if the work or any part thereof are not carried out to his satisfaction or the contractor fails to show the desired progress or fails to follow the instructions given or in case of breach of this contract.

- Earnest Money Deposit (EMD)  : 3% of the Tender Value , to be submitted by the bidder

by mode of D.D or P.O at the time of submission of Tender. This amount shall be retained by the

corporation till the expiry of defect liability period of one year from the date of virtual completion

date of work. The contractor should note that no interest will be allowed on his Security Deposit.

The EMD may be exempted in case of MSME registered bidders , Or, registered with the Central

Purchase Organisation or , the concerned Ministry or Department.

- Performance Guarantee : 3% of  the Total Contract Amount (EMD to be converted into Performance  Security Deposit , for the successful bidder), shall be considered as Performance Guarantee Amount. Within 10 Days of award of work, the Contractor shall submit the ‘Performance Security’ for proper performance of the Contract. The performance guarantee shall be valid for the duration of the contract period plus defect liability period. The performance security can be encashed by the JCIL to recover any amount which is payable by the Contractor to the Jute Corporation on any account for a cause arising out of the contract.

49A.	Return of EMD of unsuccessful Bidders: EMD shall be refunded to unsuccessful  Tenderers, within Thirty (30) days after the opening of the PRICE- BID / DISCHARGE OF THE TENDER (whichever happens with this NIT) WITHOUT  ANY  LIABILITY TOWARDS INTEREST Refund.

- The bidder need to sign.  , to be duly filled up Format / Declaration Format (wherever applicable) and  stamping to be duly done  on each & every pages of Tender document.

Authorized signatory  on behalf of the bidder,  should sign. on all the documents.

- Liquidated Damages (L.D) : If the contractor fails to maintain the required progress or to complete the work and clear the site before the Contract Completion Period Or, extended date period of completion, without any sufficient reasons thereof , he shall without prejudice to any other right, pay as agreed compensation amount of 0.5% of contract amount per week of delay , subject to maximum of 10.0% of contract amount as Liquidated Damages.

- Records & measurements and Processing of Work done Bills : I. Measurements shall be taken jointly by Corporation’s Officers / Engineer and contractor and no extra charges shall be provided to Contractor for assistance with appliance/ Equipment , labour and other things necessary for taking measurements. Measurements will be signed and dated by both the parties on completion of measurements.

Joint measurements shall be taken in readable way.

- Only Fair Face measurements shall be considered during taking measurements.

- Standard Mode of  Measurement Procedure as prescribed in the IS Codes, or , ‘Standard Procedures’ shall be kept in mind during taking Site measurements & thereafter raising Work- Bills.

Before submission of Work done bill by the Contractor , the following documents (i.e. Detail list) , formalities & general  procedures ,shall be complied  for processing of Work done bills –

- Unconditional acceptance letter by the contractor , during accepting Work Order.

- Original Work –Order copy along with BOQ sheets (soft & Hard copies both) , NIT

document etc. The documents to be duly signed  by Appropriate authority by JCI.

- Mobilization Instruction advice from appropriate authority of JCI, to start the work.

- All necessary formalities , like signing of Contract , Indemnity Bond etc. ,

as per NIT , need to be completed before start of works.

- Intimation letter  from contractor , reg. start of works & acceptance thereof at JCI end

for  start of works.

- Joint measurement sheets (not in M.B), to be duly signed & stamped (in original) ,

along with relevant drwg. no. (if any) .

- All  Original  materials’ Supply Invoices and  Challans  thereof ( clearly mentioning

exact Items purchase & dispatch to site).

- “Materials Receipt  certificate(MRC)” , Or, “Materials’ Register”  which should be

maintained at Work site . The contractor would co-operate fully with concerned JCI  staffs / Officers , as & when required. Format of the same is enclosed with the NIT document.

- ‘Work Completion Certificate’ ( in original) , to be duly signed & stamped by

Appropriate authority of JCI , as well as by the contractor.

- Measurement and Abstract sheets – to be submitted ( in Hard & soft copy _both).

- All statutory dues , like Royalty  Challans ( & payment thereof) .

*Note – For  small quantities of sand, stone-chips etc. Royalty Challans , may not be

required to submit.

- E-Invoice /original GST complied Invoice with declaration  reg. non applicability of

e- Invoice.

- Last  02 years ITR with Declaration in specified  Format.

- Statutory clearance certificate from HR deptt. ( PF, ESI , Labour Cess , Labour

Insurance etc. ).

- To be submitted by contractor – Authorization letter  for signing of any documents ,

attached with the bill.

- Time Extension approval from Competent / Appropriate authority of JCI , if

project gets delayed.

- In case ‘Time extension approval’ not available , L.D as applicable shall be

levied with GST@ 18%.

- All Test Certificates have to be submitted with the Bill , as per ‘Quality Assurance

Plan (Q.A.P)’ ( as will be issued to the successful bidder , i.e. Contractor).

- Raw “Materials’ Reconciliation Statement”(as per standard Engineering

procedures) along with all back-up/ relevant valid Material Challans &  Invoices ( as applicable).

- Submission and checking & scrutinization of Work done bill_ procedures :

The Work done bill to be submitted (by contractor) to concerned DPC of JCI . After necessary procedures, the Bill will be forwarded to the concerned R.O. Thereafter, due & necessary checking & scrutinization by the R.O. of JCI , the Bill will be forwarded to concerned Zonal Office/ Z.M. After necessary checking & scrutinization by the Z.O. / Z.M. of JCI , the Bill will subsequently be moved to H.O. in respect of Final processing of the Bill & releasing payment.

- Safety measures: The contractor at the time of breaking Structures / plaster etc. to safeguard adjacent property, corporation’s property, employees, general public, etc. The contractor shall follow all the safety measures (should comply with the corresponding IS Codes / Specifications / Standard Practices , in respect of the related Works.) while carrying out the work.

The contractor shall take all reasonable steps to protect the environment on and off the Site and

to avoid damage or nuisance to persons or to property of the public or others, resulting from

pollution, noise or other causes arising as a consequence of his methods of Repair.  All safety

rules prescribed by the Government shall be strictly observed to execute the work and safety of manpower deployed.  The Corporation shall not be liable for any compensation due to accident, any mishap or negligence.

- If there is delay in commencement of work for any reason, the Corporation shall not be liable for any compensation.

- If at any point of time during the progress, it is observed that the contractor is not carrying out the work with due diligence, care and lagging much behind the Time- schedule or fails to gear up the work despite instructions from corporation’s Architects/engineer, the corporation reserves the right to terminate the contract with 7 days’ notice. In such case, the contractor shall be liable to pay the employer any extra cost involved for the completion of the said work and will not obstruct any way in completing the work through other agency. After completion of entire work the contractor shall be paid for the actual work executed by him at the quoted rates (as approved by JCI) after deducting any claims, damages. In case of such termination the security deposit held by the Bank may be forfeited .

- First Aid: The contractor shall be responsible for all first aid and he shall keep the site fully equipped to meet such emergency.

- Supervision: The contractor is required to have on site during all working hours a competent supervisor who will be responsible for the conduct of worker and who shall have knowledge, experience & authority  to receive and act on such instructions issued by the Officer / Engineer of the Corporation.

- All work shall be carried out in a workman-like & well planned manner to the entire satisfaction of the JCI Officers / Engineers.

- Compliance of Rules , Regulations ,Laws & Bye-Laws : The contractor shall be fully responsible for observance of all labour laws applicable including local laws and other laws applicable in this matter and shall indemnify and keep indemnified JCIL against effect of non observance of any such laws. The contractor shall be liable to make payment to all its employees and make compliance with labour laws . If JCIL is held liable as “Principal Employer” to pay contributions etc. under legislation of Govt. decision in respect of the employees of the contractor then the contractor would reimburse the amount of such payments/ contribution etc. to JCIL and the same shall be deducted from the payments, security deposit etc. of the contractor.

59A.  The successful Bidder shall sign a separate Agreement, apart from  the Work-Order will be

issued  to the successful tenderer.

- Transfer of  Tender Documents: Transfer of tender documents purchased by one intending tenderer to another is not permissible.

- Safety: The contractor shall carry out the entire work in a workman like manner having full regard for the safety of the men working at site. All safe practices shall be strictly adhered to by the workmen of the contractor like wearing helmets, safety belts / harness when working at heights, gloves when handling sharp objects and reinforcement, eye shields during welding, safety shoes, etc. The contractor shall protect sides of openings in floor slabs, edges of slabs, stairs, stairwells etc. with barricades, warning signs / lights and educate all his workmen regarding following safe working practices. He shall provide first aid boxes at site.

The Contractor shall sign & stamp a ‘BASIC SAFETY GUIDELINE’ Undertaking , to be issued from JCI’s end.

#### In  spite  of  following  proper  Safety  methods,  in  case  of  any  unfortunate  accident that may occur , the  contractor shall Indemnify the employer against any expenses or claims towards treatment or compensation.

#### A Daily Diary Register: Details of work for Day to Day proceeding and A Site Diary will be written up every day and jointly to be signed by the Officer/Engineer  of JCI and the Contractor’s representatives as a token of authenticity , as mutually agreed upon.

- Nuisance: The contractor shall not at any time do cause or  permit anyone to do or cause any

Nuisance on the site or do anything which shall cause unnecessary disturbance of

inconvenience to the Employer or to the owners, tenants or occupiers of other properties

near the site and to the public generally.

- Deviations / Variations Extent and Pricing :

Project Completion Cost in general , should not exceed 15 % (Fifteen percent) of the Tendered amount , in overall.

The Payment shall be made at the Rate set out in the Contract for the measured Quantities.

However , for exceeding of quantities in the BOQ ( if it occurs) but within the Deviation Range  i.e.  ‘<’ or ‘=’ 15% of accepted contract amount , Inter Departmental approval procedures, may be followed with proper Justification.

Approval, over the approved Deviation range, may  need to be taken from  the Competent Authority

(through proper channel, i.e. Inter Departmental recommendations) with proper justification  for reason

of  such deviation.

- The HOD of Engg. Section , on behalf of the JCI, in consultation with the Contractor, may

order variations in writing to enlarge or extend, diminish, or reduce the Services or make any alterations in their design, inputs, site, quantities, sequence or timing, dimensions or the method of their execution or the combination and use of materials for the execution thereof or to order any additional service to be performed or any Services not to be performed. The contractor shall not be entitled to any compensation for any increase/reduction in the quantities of work but shall be paid only for the actual amount of work done.

Such variations shall not be more than plus/ minus 15% of the value of the Contract and must be

broadly within the original scope/ character and purpose of the original contract.

Inter Departmental approval procedures, may be followed with proper Justification.

- Unless otherwise stipulated, the accepted variation in the quantity of each contract item would be upto 25% of the quantity initially contracted. The contractor shall be bound to carry out the service at the agreed rates and shall not be entitled to any claim or compensation whatsoever upto the limit of 25% variation in the quantity of the individual item of services.

When  Quantity(ies) will  tend to exceed  the limit ,  the Contractor  should inform  the client , i.e. JCI , in prior, in writing .  Inter Departmental approval procedures at JCI end , may be followed with proper Justification.

- The HOD  of Engg. Section  if proposes variation to increase the variation beyond 125% of Contracted quantity after necessary internal approvals, the rates and acceptability shall be mutually agreed upon.

- As far as,  items in  BOQ schedule  is concerned, the limit of 25% would apply to the value of the contract as a whole and not on individual items. Inter Departmental approval procedures, may be followed with proper Justification.

- During Tendering Process, at the time of technical evaluation ,the Tender Evaluation

Committee (T.E.C) may ask Bidder(s) to submit and /or, ask for clarification on the statements &

supporting documents/ documentary evidence relating to the Technical Bid.

The Bidder has to furnish the documents in proper way, and /or clarifications (called for) in writing

within the stipulated time as fixed by the T.E.C.

The requisite documents  which they have not submitted , shall be sent within  07 working Days

from the date of such information communicated to bidders.

And, in case of failure to do so, the bidder may be considered Disqualified.

- (a) The Contractor at his own responsibility & liability, will provide ‘Material Stocks’

details updation on regular basis. The ‘Materials Register’ to be signed by both

Contractor’s & JCI representatives (posted at site).

- The Contractor has to do ‘Gate Entry’ of any kind of materials , Or, Equipments ,Or, Tools & Plants, Or, Plants & Machineries ; will enter within the JCI campus, during the works period & for the purpose of Work. ‘Gate Entry’ with no dual meaning , means that all the materials should be entried in the ‘Material Register’ with the acknowledgement of JCI representative & both the JCI & Contractor’s representative should sign on it.

Also the Contractor should submit directly at site – Material’s Invoice(s) or Challan(s),

in support of the materials entried at site.

(c) All materials to be used in execution of the said project (s), must enter into the Register

as maintained at site.

Note : ‘Materials Inspection Note’ must be jointly certified by  the Authorized persons  of  the

Contractor  & JCI representatives ( posted at concerned site & R.O.).

- Rights, remedies and powers:

I. Termination of contract due to contractor’s default.  If  the  Contractor:

- Abandons the contract. Or,

- At any point of time defaults in proceedings with the works with due diligence and continues to do so after a notice in writing of seven days from the Civil Engineer Or Officers or Employer on behalf of JCI.  ,Or,

- Commits default in complying with any of the terms and conditions of the contract and do not remedy it within 7 days after a notice in writing is given to him on that respect from the Civil Engineer or Officers or Employer on Behalf of  JCI.

- Persistently disregards the instructions of the Civil Engineer, Officers or contravenes any

Provision  of the contract ,or

- Fails to remove materials from the site or to pull down and replace work after receiving from the Engineer, or officer’s notice to the effect that the said materials or works have been rejected.

- Fails to complete the works or items of work on or before the stipulated date (s) of completion, and does not complete them within the period specified in a notice given in writing in that behalf by the Civil Engineer, officers or Employer ,or

- Offer or gives or agrees to give to any person in the Employer’s service or to any other person on this behalf, any gift or consideration of any kind as an inducement or reward for doing or forbearing to do so for having done or forborne to do any act in relation to the obtaining or execution of this or any other contract from  the Employer ,or ,

- Being an individual, or if a firm, any partner thereof, shall be at any time be adjudged insolvent or have  a receiving order or or, order for administration of his estate made against him or shall take any proceedings for liquidation or composition (other than a voluntary liquidation for  the purpose of amalgamation or reconstruction) under any Insolvency Act for the time being in force or make any conveyance or assignment of his effects or composition or arrangement for the benefit of his creditors or support so to do, or any application  be made under any of the following :-

- Being a company, shall pass a resolution or the court shall make an order for the liquidation of its affairs, or a appointed or circumstances shall arise which entitle the court or debenture holders to appoint a receiver or manager ,or

- Shall suffer an execution being levied on his goods and allow it to be continued for a period of 21 days ,or

k)       Assigns, transfers, sublets (engagement of labour on a piece work basis or of labour

With materials not to be incorporated in the work, shall not be deemed to be sub-letting) or

attempts  to assign, transfer or sub-let the entire works ,or any portion thereof without the prior

written approval of the employer.

- Blacklisting Clause : In the event at any time , any of the Documents found Fabricated /

Forged/ Tampered/ Altered / Manipulated in the Tender, then the EMD of the Contractor

would be Forfeited and he/they himself / themselves would disqualify for Future Participation

in the Tenders of JCI  Works for the next Five (05) Yrs.

- .         The corporation may, without prejudice to any other right or remedy which shall have accrued

or shall  accrue therefter as the Employer by written notice determine the contract either as a

whole or in part. Upon such Termination of the contract in whole or in part, the security

deposit with the Employer in respect of the contract shall stand forfeited to the Employer

without in any way affecting  the rights of the Employer.

III.         Rights of the employer after termination of the contract due to contractor’s default.

Civil Engineer/ Officers shall on such termination have powers to:

  - Take possession of the site and any materials equipment, plant, implements stores etc. thereon,

and /or , Carry out the incomplete work by any means at the risk and cost of the contractor.

- On Termination of the contract in full or in part, the Civil Engineer shall determine what amount, if any, is recoverable from the contractor for completion of the works or part of the works or in case the works or part of the works is not to be completed, the loss or damage suffered by the Corporation . In determining the amount, credit shall be given to the contractor for the value of the work executed by him up to the time of cancellation or the value of contractor’s materials to be present so as to record the measurements in his presence. If the contractor fails to be present in response to the notice, the recording of measurements shall be proceeded ex-parte and the measurements as recorded shall be binding on the contractor.

- The Corporation shall have the right to use contractor’s plant, machinery and materials on the

balance work but shall not in any way be responsible for any damage or loss of the same and

the contractor shall not be entitled to any compensation thereof .

- Force Majeure  :

Any delay in or failure to perform  by the either party, shall not constitute default so as to give rise to any claim for damages, to the extent such delay or failure to perform is caused by an act of God, or by fire, explosion, flood or other natural catastrophe, or any pan demonic situation governmental legislation, orders or regulation etc. Failure to hand over the entire site and / or release funds for the project, for reasons attributable to the above factors shall also constitute force majeure. The time for performance of the obligation by the parties shall be deemed to be extended for a period equal to the duration of the force majeure event. Both parties shall make their best efforts to minimize the delay caused by the force majeure event. If the failure / delay of the client /owner in handing over the entire site and / or in releasing the funds continues even on the expiry of the stipulated date of completion, JCIL, may, at the request of the contractor, foreclose the contract without any liability to either party.

- Amicable Settlement of Disputes :

The party shall use their best efforts to settle amicably all disputes arising out of or in

connection with this contract or the interpretation thereof.

- Bid validity period : 180 Days.

- ARBITRATION :

Any dispute and differences relating to the meaning of the specifications, designs, drawings and instructions herein before mentioned and as to the quality of workmanship of materials used in the work or as to any other question, claim, right, matter or thing whatsoever in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions or these conditions or otherwise concerning the works or the execution or failure to execute the same whether arising during the progress of the work or after the completion or abandonment thereof in respect of which amicable settlement has not be reached shall be referred to the Sole Arbitrator to be appointed by Jute Corporation. However The work under the contract shall continue, during the Arbitration proceedings.  The award of the arbitrator shall be final , conclusive and binding on both the parties. The provision of the Indian  Arbitration and Conciliation Act 1996 or any statutory modification or re-enactment  thereof  and  the rules made there under, and for the time being in force , shall apply to the arbitration proceeding  under the  clause.

JURISDICTION:

The Contract shall be subject to the Courts of Kolkata Jurisdiction only.

## ‘APPENDIX-A’ TO THE CONTRACT DOCUMENTS

- 1. Defect liability period ( DLP)   : 12 (Twelve) months from the  Date of Issuance of  Completion

- Certificate’  by  JCI end.

- Date of commencement            :  Within Seven  (07) Working Days after the Work-Order will be

accepted by the contractor , Or, Hand-Over of the Site ( whichever is

earlier).

- Date of completion                  :  65 (Sixty Five Calender DAYS) from the Date of  ‘Commencement

of Work ( i.e. to be counted as ‘DAY-01’ in the record) at Site.

4. Liquidated Damage (L.D)       :  0.5 % of Work order value per Week  and /or , part  thereof , delay subject

to maximum  extent  upto 10%  of  Contract value .

5. Completion Certificate             :  Will be issued after successful completion of  the work , and

after checking of the Work by Appropriate Authority of JCI.

- Payment Terms                      : i) 80% of  Final Certified bill amount ( of work done Bill)

within 30days  from ‘Work Completion Certificate’.

ii) Rest 20 % of Certified bill amount within  90 days from ‘Work

Completion Certificate’.

iii) TDS  shall be  Deducted as per Rule.

iv) Other Financial Components will be applicable as per Rule.

- Total ‘Security Deposit’     :     3% of the Total Contract Amount to be deposited as Security

Deposit (S.D ) before awarding of  Work –Order , the S.D will be

refunded on completion of 01(One) Year from the issue of ‘Work

Completion Certificate’ by JCI end

This Amount shall be considered as ‘Performance Security’, to be

deposited in the mode of ‘Demand Draft’ Or, ‘Pay Order’.

- Retention Money              :   Further 5% of Certified Bill Value will be deducted from

Running  Account bills  and will be retained for a period of

One (01) Year from the date of issue of completion certificate at

JCI end.

The Retained Amount will be release after defect liability period

(DLP) will be over.

- Earnest Money (EMD)

to be submitted                     :   Rs. 71,885/-.

PRICE BID

AS PER  BOQ  IN SEPARATE ATTACHMENT , QUOTES TO BE GIVEN AS ‘A’ , ….. % ABOVE OR BELOW OF  THE BOQ  AMOUNT , WITH  RESPECT TO  THE TENDERED VALUE  .

SIGNATURE OF THE BIDDER

WITH  STAMP

# ELIGIBILITY CRITERIA FOR BIDDERS

BIDDERS WHO WANT TO PARTICIPATE IN ABOVE TENDER WOULD HAVE FOLLOWING

MINIMUM ELIGIBILITY CRITERIA  ( Technical Qualifications)  :

  - Tender Fees ( Rs. 118/-) in the form of digital mode ( as detailed in page no.03 the Tender document) .

  - Earnest Money Deposit – Rs. 71,885/-, in the form of digital mode ( as detailed in page no.03 the Tender document) .

  - Should have valid Trade License (from related Trade, shall be considered) .

  - Reg. GST  Registration matter :

Valid GST registration is compulsory.

  - P.F an E.S.I  Clause regarding : An ‘Indemnity Bond’ on stamp paper ( Rs. 100/-) may be given by the

Bidder as  to indemnify the Corporation against all liabilities  arising out of  non compliance of applicable

Statutory / Labour Laws . Indemnity Bond format is enclosed with the NIT document (at pg.          ).

EPF & ESI registration of the bidders shall be a mandatory requirement , as per the relevant Act.

- In the event, ESIC Act 1948 is not applicable, the bidders  shall submit an Undertaking/ Declaration

- (Appendix -  D ), along with relevant  supporting documents. Bidders must compulsorily obtain  Workers

- Insurance Policy’ under Workmen Compensation Act 1923 (now known as Employee Compensation Act).

- The Insurance coverage should be for the entire period of contract / till completion of work. The Contractor shall pay

- compensation to the workers in case of any accident and JCI shall not be responsible in any manner.

- *N.B. : Timeline & modalities for submitting the proof of Insurance policy and payment of premium may be

- worked out by the Tender Committee.

  - Regarding compliance of  ‘Labour Welfare Cess’ under prevailing Laws & Practices :

Compliance of ‘Labour Welfare Cess’ & necessary formalities to be done by contractor only.

LWC amount payment shall be done by contractor after determination of certified Bill value. The contractor will

duly submit the LWC payment challan  to JCI (after  having paid the amount  to the concerned Authority / Deptt.).

A valid  registration  certificate , as applicable shall be submitted along with the bid.

  - Income Tax Assessment order /Return : ‘ITR Form’ (with acknowledgement) , at least of three (03) Financial

Years not beyond 2015-16.

  - Reg. ‘Non-Blacklisting’ from any of the Previous Employer etc.: Notarized  declaration is required by

the bidder ( format is enclosed as ‘Annexure –B’).

  - ‘Credential criteria’ as detailed in NIT  [ ‘Appendix – B’_  pg. no. 22].

  - Bidder should have adequate financial capacity of not less than amount as specified in this N.I.T to

undertake the above contract and to complete the work in all respect. ‘Bank Solvency Certificate’ or

Statement from bidder’s Banker to be submitted for minimum last one (01) year.

All the above Statutory documents to be self-certified by the Bidders  and to be submitted in an

envelope marked  as  “TECHNICAL BID for Civil  new construction works at Moirabari DPC.”

# PROCEDURE FOR TENDER- BID SUBMISSION

This is a two packet Bid submission process:

- Technical Bid ( Envelope -1) Consisting all  relevant Technical Documents, Tender Fees & EMD amount.

- Financial Bid  ( Envelope-2)  Consisting Financial Documents, based on overall % quoted above or below .

Both the Bids should be placed in another big envelope marked  as “BID for new Boundary Wall

construction works at  Moirabari  DPC” in entirely and to be submitted within  scheduled date and  time .

On top of all the envelopes , NIT no. to be mentioned.

Complete bid to be submitted to the JCI H.O., i.e. ‘The Jute Corporation of India Ltd. 15N, Nellie Sengupta

Sarani, HUDCO Building, 7thFloor,  Kolkata-700087’, in  Tender Box.

Tender  documents to  be  dropped  by  Hand Or, by Registered / Speed Post , at the Tender  Box  being kept at

JCI H.O.

The  Tender being a 02 Packet Bid System , so both the Bid envelopes ( Technical & Financial Bid ) should be

placed in a big envelop & properly sealed . Technical & Financial Bid envelopes should be marked with Tender

No. & Tender name. Bigger & top envelop should be  superscribed with Tender No., Tender Name .

within the scheduled date & time at the address mentioned in Tender Documents.

The Bidder at his own responsibility is required to ensure submission of  the Tender document (complete in all

respect) within the due date & time. Tender(s) received after the Deadline will not be accepted. The

Corporation shall have No Obligation / Liability for any delay on the part of Bidder or due to postal issues, in

receiving the Tender documents. The Corporation will not entertain any plea verbal Or through correspondences

reg. the acceptance of late Bid Or the extension of due date.

For any further information or queries, pls. feel free to contact with below mentioned :

- Mr Koushik Halder ( Addl. Civil Enggr.) , Contact No.- 98363 42321.

- Mr. Paban Basak [Regional Manager (I/C.), Nagaon RO ] , Contact no. – 90649 90668.

- Receiving Section at H.O. / JCI , Contact No. (033) 2252- 1100 .

# SELECTION OF CONTRACTOR

Selection of contractor would be done based on Technical Qualification and Financial Bid. Those who

will qualify in Technical Bid , their Financial bid will be opened and ultimate selection will be done on

the  basis of  Lowest Quoted Bid ( L1)  for above said works , considering the specified criteria will be

complied  by L1 bidder properly.

APPENDIX – B  [CREDENTIALS].

- Intending bidders shall furnish  credentials of Average annual financial turnover during the last 03 Financial

Years which ends 31st. March of the previous financial years , should be at least 30% of the Tender value .

Turnover of associates / sister concern / tie-up firm will not be considered.

The  prospective bidders should submit – last 03 Financial years’ Turnover Certificate, Networth & Net profit

certificate  which to be duly certified by  practicing  CA / CMA , Or , the  prospective bidders should submit

– last 03 Financial  years’ Audited  P/L. A/c. and  audited Balance sheets which to be duly certified by

practicing  CA / CMA .

And,

- Intending Bidders should produce  Experience of having successfully Completed and/or Work Order of similar

nature of works duration of last 07 Financial years . Required documents should be either of the following  :-

- Three (03 nos.) completed/ Work-Order value of similar nature works , each costing not less than the Amount equal

to 40%  of  the  estimated cost. , Or,

- b. Two (02 nos.) similar nature of completed / Work- Order value of similar nature Works , each costing  not less

- than the amount equal to 50% of the estimated cost. Or,

- c . One (01 no.) similar nature of completed / Work- Order value of  similar nature  Works , costing not less than the

- Amount equal to 80% of the Estimated cost. Or ,

- d. Intending tenderers should produce credentials of one single running work of similar nature which has been

completed to the extent of 80% or more and value of which is not less than the desired credential amount mentioned

in Tender.

- In case of Running Works, only those Tenderers who will submit the Certificate of  satisfactory

Running works from the concerned Executive Engineer, or, equivalent Competent Authority will be

eligible for submission of bids . In the required certificate it should be clearly stated that the work is in

progress satisfactorily and also that no penal action has been initiated against the Executing Agency,

i.e. the Tenderer  (in our case).

In addition :  1. A list of  Work Orders and Work Completion certificate mentioning value & type of works may be

submitted  yearwise.

2.In case when  bidder is unable to produce ‘Work completion certificate ’ against any Work order , Self  Declaration

on  bidder’s letterhead to be submitted along with the bid ( ‘Annexure –C’ format is enclosed with the NIT ) .

*N.B.: ‘Similar nature of works’ referred  here as Civil Construction/ Civil  Finishing works /Fabrication type works/

Plumbing oriented job like Laying of water pipe-lines etc./ Civil roadways works / any type of repairing or renovation

type job/  any  related  works etc.

APPENDIX – C

UNDERTAKING

I , the Proprietor / Director / Authorised Representative  , undertake to assure you ( JCI) that we are/ would be

abiding by relevant Laws & Bye-Laws of the country & state with respect to Labour , Work Contract Act , Tax

Norms ( I.T, GST , Service Tax etc. as applicable) .

We, would also abide by the policies / Rules claimed by The Jute Corporation of India Ltd., for contractors /

Vendors / Service Providers.

We or our personnel engaged in the Work or during Tender processes , will not create any nuisance or

difficulty to the stuff , members or, neighbours of JCI , in & around the Work premises / Site of JCI.

………………………………………………………………..

Signature  of  the Bidder Or Authorized representative of  bidder.

APPENDIX – D (Declaration reg. non-applicability of ESI Act)

(to be submitted on a Rs. 100/- non judicial stamp paper duly notarized by Notary Public)

Ref. NIT No.  :…………………………………………………………………………………………………………..

- I/We (the Proprietor/ Director/ Authorized representative) understand the importance of ESI registration,

as per Tender clause No. _____ (e) of ‘Technical eligibility criteria.

- I/ We hereby declare that ESIC 1948 is not applicable to our firm as our firm has less than10 employees/

persons on our establishment as on date as well as in the preceding 12 months.

- In future if the number of employees/persons employed by us exceeds 10 employees as stated above, we

undertake that the valid registration certificate under ESIC Act, 1948 will be submitted immediately to JCI.

- I/ We hereby declare that the statements made hereinabove are true and correct and no part of it is false and

nothing material has been concealed there from. In the event of any such information pertaining to the aforesaid matter

found being false/untrue at any given point of time either during the course of the contract or at the bidding stage, my

bid/contract shall be liable for cancellation/termination without any notice at the sole discretion of JCI and the EMD

/SD  may be forfeited, without prejudice to other rights of JCI.

- I/ We will be wholly and exclusively responsible for payment of wages/ other benefits to the persons

employed by us and comply with all the statutory laws as applicable to us from time to time. I/ We hereby

undertake to indemnify  and keep JCI indemnified and harmless against all loss and damage that may be caused/

incurred or likely to be caused as a result of any proceeding/ claims/ expenditure/ liabilities or due to non-compliances

of EPF Act/ ESI Act and/ or any other applicable labour laws.

Dated:

(__________________)

ANNEXURE  – A (Declaration reg. Bid Security )

[ To be submitted on bidder’s letterhead ].

I / we (the Proprietor / Director / Authorised Representative) understand that untimely withdrawal / further

Modification of bids during the Validity period may eventually lead to suspension of the bidder

M/S …………………………………………………for a specific period of time’[ till completion of works and

release of  Final payment alongwith Completion Certificate / till placement of Work-Order and having received &

accepted the same by the vendor whichever is later ].

Moreover , I understand that  my submitted EMD  amount  may be forfeited (by JCI) , in case I wish to withdraw

my bid untimely  .

In the event of arising of  any contravention between the Tender Document & corresponding statute , the provision

of  the  statute shall prevail.

DECLARATION REGARDING BLACKLISTING/ NON-BLACKLISTING FROM TAKING PART IN GOVT.TENDER BY JCI

(To be executed on Rs.20/- Stamp paper & attested by Public Notary/Executive Magistrate by the bidder)

DECLARATION ( Annexure – B)

- Name of the Bidder:

- Office Address:

3. Contact No. :

4. Official e-mail ID:

5. NIT / RFP  ref. No. :

I / We Proprietor/ Partner(s)/ Director(s) of M/S. --------------------------------------- hereby confirm and declare

that M/s _____________ has not been blacklisted/ penalized/ debarred by JCI or any Government Department/

Public Sector Undertaking/ Autonomous Bodies/ Private Sector/ or any other organisation, from participating in

tenders.

In the event of any such information pertaining to the aforesaid matter found being false/untrue at any given point of time

either during the course of the contract or at the bidding stage, my bid/contract shall be liable for cancellation/termination

without any notice at the sole discretion of JCI, and without prejudice to other rights of actions of JCI by reason thereof

and the EMD/SD may be forfeited.

In addition to the above O/o JCI __________________, will not be responsible to pay the bills for any completed/

partially completed work.

Name : ---------------------------------

Capacity in which being signed: ---------------------------------

Seal  of the farm should be Affixed.

Date: 									  Signature of Bidder with seal.

ANNEXURE  – C ( Self  Declaration reg. non submission of  Completion certificates )

(to be submitted on bidder’s letterhead)

Ref. NIT / RFP  no. :

I / we ____________________________________ (the Proprietor / Director / Authorised representative)

understand that ‘Completion certificate(s)’ against our submitted ‘Work Order(s)’ are required for last three (03)

financial years, as per  ‘Technical qualification _ clause No. i ( viz.’ Appendix – B).

In the event, I/ We are unable to submit the ‘Completion certificate(s) against  any of the  submitted Work Order(s),

I /we hereby declare and undertake that all the requisite data will be  furnished, in a tabular sheet(s) year-wise, to be

enclosed with this ‘Annexure – C’, along with the reason for non-submission of completion certificate. The basic

data to be mentioned in the tabular sheet project wise are – Work start date, Work completion date and other

relevant information.

Note : I/We also hereby undertake to provide the Final Bill/ No Due Certificate/ No Dispute Certificate issued from

the respective employer/ client against the submitted Work Order, as & when required by JCI during document

verification, relating to the referred  NIT .

I/ We hereby declare that the statements made hereinabove (including the tabular sheet) are true and correct to the

best of our knowledge & belief and no part of it is false and nothing material has been concealed there from.

Dated:

Name : ---------------------------------

Capacity in which as signed: ---------------------------------

Seal  of the firm should be Affixed.

Signature of Bidder with seal.

|  |  | ANNEXURE- D |  |  |
| --- | --- | --- | --- | --- |
| BASIC LIST OF MAKES / MANUFACTURERS' OR, APPLICATORS FOR CIVIL RENOVATION WORKS FOR GULABBAGH DPC REPAIRING PROJECT ’2021 : |  |  |  |  |
| SL. NO. | Description of materials | Recommended Make | Remarks |  |
| I. | Cement & cement putty : |  |  |  |
| 1 | OPC / PPC ( Grade - 43). | ACC / ULTRATECH / LAFARGE / AMBUJA / BIRLA GOLD or , BIRLA SAMRAT / JSW / DALMIA / RAMCO etc. | i) Should Conform to IS:8112-1989 for Ordinary Portland Cement. ; ii) Should Conform to IS:1489 (Part -2)_1991 , for Portland Puzzolana Cement. |  |
| 2 | White cement . | BIRLA WHITE / JK CEMENT. | Should conform to IS: 8042. |  |
| 3 | Cement Putty. | BIRLA WHITE / JK CEMENT/ ASIAN WALL PUTTY. | Should conform to IS : 419 - 1967. |  |
| II. | Concreteting : |  |  |  |
| 1 | During making of Concrete , Mixture Machine to be used of Minimum capacity ( Specification 10/7 ). | Standard Manufacturing Brand preferable. | (10/7) Concrete Mixture with mechanical hopper required . * Concrete mixture should have production capacity of around 6.5 CUM. Of Concrete Per Hr. |  |
| 2 | Construction Chemicals ( Water-Proofing materials , Admixtures etc.). | FOSROC / SIKA / CICO , Or, equivalent. |  |  |
| 3 | Shuttering oil. | FOSROC-STP / SIKA / CICO / BASF , Or, equivalent. |  |  |
| III. | HYSD Bars (TMT bars) / Structural Steel Works/ TRUSS ROOFING : |  |  |  |
| 1 | HYSD Bars . | SRMB / SHYAM or equivalent ( the TMT Bar brand , should have ‘Integrated Steel Plant’ facility ). | Other than SAIL/TATA/ RINL , as proposed in BOQ. * N.B.: should conform to IS 1786-2008 , IS 2830 - 2012 & IS 2062- 2011. |  |
| 2 | Structural Steel . | TATA / JINDAL / SAIL . | Should conform to IS : 806-1968 , and, IS : 1161-1998. |  |
| 3 | High Tensile Bolts . | Unbrako / GKW / HILTI. |  |  |
| 4 | Chemical / Mechanical Anchor fastener. | HILTI / FISCHER / MKT( Germany) Axel. |  |  |
| 5 | Nuts , Bolts and Screws , steel. | KUNDAN / PRIYA / ATUL. |  |  |
| 6 | CGI Sheet (Corrugated) & Plain Sheet . | TATA / JINDAL/ HINDALCO/ SAIL. | Should conform to IS : 277-2003. |  |
| 7 | FRP Translucent Sheet ( Plain & Corrugated). | EVEREST / EVERLITE Or equivalent. | Should conform to IS:12866-1989. |  |
| 8 | Welding electrodes. | ESLAR Or equivalent. | Should conform to IS : 814-2004. |  |
| IV. | PAINTS : |  |  |  |
| 1 | Oil bound washable distemper , Plastic emulsion paints & Synthetic Enamel paints. | ICI/ BERGER/ ASIAN PAINTS / NEROLAC . |  |  |
| 2 | Water-Proof cement paint . | SUPER SNOWCEM / ACRO PAQINTS / ASIAN PAINTS / ULTRA TECH. |  |  |
| 3 | Weather Shield Paint ( Exterior type paint). | ICI/ BERGER/ ASIAN PAINTS . |  |  |
| 4 | Red-Oxide Primer | SHALIMAR / ASIAN/ BERGER / MURARKA . |  |  |
| 5 | Steel Primer . | SHALIMAR / ASIAN/ BERGER / MURARKA. |  |  |
| V. | SANITARY FITTINGs, FIXTURES & PIPES : |  |  |  |
| 1 | G.I pipes. | TATA / JINDAL . | Should conform to 'IS 1239 ( Part 1):2004. |  |
| 2 | G.I Fittings . | UNIQUE / KS / AMCO/ AVR/RR , or equivalent. |  |  |
| 3 | Gun metal valves , globes . | ZOLOTO/ LEADER/CIM Valves/ KILBURN. |  |  |
| 4 | PTMT Water Taps & PTMT Fittings . | PRAYAG / WATERTEC / SUPREME , Or, equivalent. |  |  |
| VI. | OUTDOOR LIGHT , ELECTRICAL FITTINGS & FIXTURES etc. : |  |  |  |
| 1 | Outdoor illumination LED light. | PHILIPS / HAVELLS / CROMPTON / BAJAJ. | Should conform to the following Technical specs.: i) System Wattage (W)_ 36 to 70.0 . ; ii) IP Rating _ IP-66 ; iii) Lumen Output(Im)_ 3500 to 7000. ; iv) Operating Voltage : 140.0 Volt - 270.0 V AC, 50.0 Hz. ; v) Should meet lighting requirement for A2/B1 Category Road , as per IS 1944. |  |
| 2 | MCCB | LEGRAND / SCHNEIDER / ABB / L&T. |  |  |
| 3 | Fuse Switch / Load Isolator | LEGRAND / SCHNEIDER / ABB / L&T. |  |  |
| 4 | Switches . | SCHNEIDER / ANCHOR / HAVELLS . |  |  |
| 5 | Terminals . | ELMEX / ESSEN. |  |  |
| 6 | Wires . | HAVELLS / FINOLEX / MESCAB / POLYCAB. |  |  |
| 7 | PVC conduits . | AKG , Or, Equivalent brand. |  |  |
|  | **N.B.: 1. In all the above 'Make-List' cases , MTC or Test Certificate from NABL Accredited Test House , shall be required by JCI ( as applicable , as per ‘Quality Assurance Plan’ to be issued by JCI ). |  |  |  |
|  | 2. In case of non-availability of recommended make, written permission to be taken from appropriate Authority of JCI , if the Contractor proposes for some other Brands , with the purpose for executing specific Items of Work . |  |  |  |